## Input Data
Luminary | Nos | Wattage | Hours used/Day | Electricity Cost @ Rs | Months in a Year
Florescent Tube Light With Ordinary Choke | 250 | 55 | 12 | 6 | `12
Present Tube Light With CARE Choke | 250 | 30 | 12
Cost CARE LED Tube Light | 1100
Cost of Choke | 195
The rate of electricity is taken at the present rate of approx Rs. 6 per Unit. An Unit is One KW of energy used in an hour. For eg. If you light a tube for 10 hours a day its 55 W * 10 = 550 /1000 which is about 0.55 of a unit for a day and * 30 days it would be about 16.5 units

## Returns
Return on Investment | Cost of Rep;acement |  | Savings Month | Return on Investment in Months
Choke | 48750 |  | 13500 | 3.6111
Tube | 275000 |  | 24840 | 11.0709
Saving | Monthly | Annually | 36 Months | 5 Years
Present Tube Light With CARE Choke | 13500 | 162000 | 437250 | 761250
Cost CARE LED Tube Light | 24840 | 298080 | 619240 | 1215400

## Calculator
Luminary | Nos | Wattage | Hours used/Day | Electricity Consumed per Day / Watts | Electricity Units Consumed per Month / KW | Electricity Cost per Month @ | Electricity Consumed per Year
| 1000W =1KW |  | 1KWh = 1 Unit |  |  | 6 | 12
Florescent Tube Light With Ordinary Choke | 250 | 55 | 12 | 165000 | 4950 | 29700 | 356400
Present Tube Light With CARE Choke | 250 | 30 | 12 | 90000 | 2700 | 16200 | 194400
Gross Saving |  |  |  | 75000 | 2250 | 13500 | 162000
Cost of Choke | 250 |  |  | 195 |  |  | 48750
Nett Saving |  | 25 |  | Monthly | 2250 | 13500 | 113250
|  |  |  | Annual | 27000 | 162000 | 761250
The rate of electricity is taken at the present rate of approx Rs. 6 per Unit. An Unit is One KW of energy used in an hour. For eg. If you light a tube for 10 hours a day its 55 W * 10 = 550 /1000 which is about 0.55 of a unit for a day and * 30 days it would be about 16.5 units
Luminary | Nos | Wattage | Hours used/Day | Electricity Consumed per Day / Watts | Electricity Units Consumed per Month / KW | Electricity Cost per Month | Electricity Consumed per Year
| 1000W =1KW |  |  | 1KWh = 1 Unit |  | 6 | 12
Florescent Tube Light With Ordinary Choke | 250 | 55 | 12 | 165000 | 4950 | 29700 | 356400
CARE LED Tube Light | 250 | 9 | 12 | 27000 | 810 | 4860 | 58320
Gross Saving |  |  |  | 138000 | 4140 | 24840 | 298080
Cost of LED Tube | 250 |  |  | 1100 |  |  | 275000
Nett Saving |  | 46 |  | Monthly | 4140 | 24840 | 23080
|  |  |  | Annual | 49680 | 298080 | 1215400
Return on Investment | Cost of Rep;acement |  | Savings Month |  | ROI or Break even in Months
Choke | 113250 |  | 13500 |  | 8.3889
Tube | 275000 |  | 24840 |  | 11.0709

## Printung
Luminary | Nos | Wattage | Hours used/Day | Electricity Consumed per Day / Watts | Electricity Units Consumed per Month / KW | Electricity Cost per Month @ | Electricity Consumed per Year
| 1000W =1KW |  | 1KWh = 1 Unit |  |  | 6 | 12
Florescent Tube Light With Ordinary Choke | 250 | 55 | 12 | 165000 | 4950 | 29700 | 356400
Present Tube Light With CARE Choke | 250 | 30 | 12 | 90000 | 2700 | 16200 | 194400
Gross Saving |  |  |  | 75000 | 2250 | 13500 | 162000
Cost of Choke | 250 |  |  | 195 |  |  | 48750
Nett Saving |  | 25 |  | Monthly | 2250 | 13500 | 113250
|  |  |  | Annual | 27000 | 162000 | 761250
The rate of electricity is taken at the present rate of approx Rs. 6 per Unit. An Unit is One KW of energy used in an hour. For eg. If you light a tube for 10 hours a day its 55 W * 10 = 550 /1000 which is about 0.55 of a unit for a day and * 30 days it would be about 16.5 units
Luminary | Nos | Wattage | Hours used/Day | Electricity Consumed per Day / Watts | Electricity Units Consumed per Month / KW | Electricity Cost per Month | Electricity Consumed per Year
| 1000W =1KW |  |  | 1KWh = 1 Unit |  | 6 | 12
Florescent Tube Light With Ordinary Choke | 250 | 55 | 12 | 165000 | 4950 | 29700 | 356400
CARE LED Tube Light | 250 | 9 | 12 | 27000 | 810 | 4860 | 58320
Gross Saving |  |  |  | 138000 | 4140 | 24840 | 298080
Cost of LED Tube | 250 |  |  | 1100 |  |  | 275000
Nett Saving |  | 46 |  | Monthly | 4140 | 24840 | 23080
|  |  |  | Annual | 49680 | 298080 | 1215400
Return on Investment | Cost of Replacement |  | Savings Month |  | ROI or Break even in Months
Choke | 113250 |  | 13500 |  | 8.3889
Tube | 275000 |  | 24840 |  | 11.0709
Luminary | Nos | Wattage | Hours used/Day | Electricity Consumed per Day / Watts | Electricity Units Consumed per Month / KW | Electricity Cost per Month @ | Electricity Consumed per Year
| 1000W =1KW |  | 1KWh = 1 Unit |  |  | 6 | 12
Florescent Tube Light With Ordinary Choke | 250 | 55 | 12 | 165000 | 4950 | 29700 | 356400
Present Tube Light With CARE Choke | 250 | 30 | 12 | 90000 | 2700 | 16200 | 194400
Gross Saving |  |  |  | 75000 | 2250 | 13500 | 162000
Cost of Choke | 250 |  |  | 195 |  |  | 48750
Nett Saving |  | 25 |  | Monthly | 2250 | 13500 | 113250
|  |  |  | Annual | 27000 | 162000 | 761250
The rate of electricity is taken at the present rate of approx Rs. 6 per Unit. An Unit is One KW of energy used in an hour. For eg. If you light a tube for 10 hours a day its 55 W * 10 = 550 /1000 which is about 0.55 of a unit for a day and * 30 days it would be about 16.5 units
Luminary | Nos | Wattage | Hours used/Day | Electricity Consumed per Day / Watts | Electricity Units Consumed per Month / KW | Electricity Cost per Month | Electricity Consumed per Year
| 1000W =1KW |  |  | 1KWh = 1 Unit |  | 6 | 12
Florescent Tube Light With Ordinary Choke | 250 | 55 | 12 | 165000 | 4950 | 29700 | 356400
CARE LED Tube Light | 250 | 9 | 12 | 27000 | 810 | 4860 | 58320
Gross Saving |  |  |  | 138000 | 4140 | 24840 | 298080
Cost of LED Tube | 250 |  |  | 1100 |  |  | 275000
Nett Saving |  | 46 |  | Monthly | 4140 | 24840 | 23080
|  |  |  | Annual | 49680 | 298080 | 1215400
Return on Investment | Cost of Rep;acement |  | Savings Month |  | ROI or Break even in Months
Choke | 113250 |  | 13500 |  | 8.3889
Tube | 275000 |  | 24840 |  | 11.0709